## How to use
Daily stock register: a working format from MDG Services
If Excel shows a yellow 'Protected View' bar at the top, press Enable Editing. The grey columns fill in after that.
1. First, the rule. MDG 2024 says the oil company supplies the daily stock register (clause 1.3(ii)) and prints no form for it. If you have the company's register, fill that one first. Use this workbook for the sums, or as a spare.
2. Open the sheet for the product. Type your outlet name and the first date in column A. Later dates fill in by themselves.
3. Every morning, before the first sale, write for each tank: the product dip (cm), the litres that dip gives in that tank's own calibration chart, and the water dip (cm) (clauses 1.3 and 1.4.1(b)). Use each tank's own chart. A water dip above 0 turns red: report water to the controlling company office at once (clause 1.4.1(b)).
4. Write each nozzle's meter reading, and the litres used to test the nozzles that day (clause 1.4.2(d)).
5. Tankers sheet: one line for each tanker received, with the product and the quantity. The product sheet picks up the day's total by itself (clause 1.2(xiii)).
6. The next morning, the grey columns for yesterday fill in, by the method of MDG Annexure 9: sales as per meter (today's meter total minus yesterday's), book stock (opening stock + received - shrinkage or TVA - sales), closing stock by dip (the next morning's dip stock), the variation and 4% of the closing stock. Only if you also take an evening dip, type it in the yellow column for the closing dip.
7. The variation is the closing stock by dip minus the book stock. A plus means more fuel in the tank than in the books, a minus means less. The status says Inside 4% or Over 4%.
8. This sheet judges the 4% of closing stock only. MDG also counts the handling loss on sales, and shrinkage or TVA where they apply (clause 5.1.11), so Over 4% is not yet a finding. Use the stock variation calculator at mdgservices.in/tools/stock-variation/ or ask your oil company how it counts. An irregularity must be established before any action (clause 8.5.2).
9. Shrinkage or TVA: type the percentage only if your oil company gives one, for example 0.52. Leave it empty if none applies.
10. Nozzle test litres: MDG asks you to record them (clause 1.4.2(d)) and does not say whether to take them off the meter sales. The default is No, the plain reading of Annexure 9. If your oil company takes them off because the fuel goes back into the tank, pick Yes in the box at the top of the sheet.
11. If a dispensing unit's meter is changed or set back to zero, that day's sales will look wrong. Write what happened in Note and work that day out by hand.
12. Each product sheet holds 400 days and the Tankers sheet 2,000 lines. Start a fresh copy when they run out. Clause 5.1.12 asks for the daily sales register for this financial year and the one before: ask your oil company whether that covers the stock register.
Yellow cells: you type
Grey cells: worked out by the sheet. Do not type in them.
General information. Not an oil company form and not the official text. Check your own figures.
MDG Services, a brand of VRUOOM Private Limited · mdgservices.in/tools/density-and-stock-register-format/

## Petrol (MS)
Daily stock register: Petrol (MS)
Yellow cells: you type. Grey cells: worked out by the sheet, do not type in them.
Outlet | [6 empty] | Product | Petrol (MS) |  |  | Shrinkage or TVA, % of receipts (only if your oil company gives one; for example 0.52):
Take the nozzle test litres off the meter sales? (default No) | [13 empty] | Days over 4%:
| Morning tank record (before the first sale) | [9 empty] | Morning pump meter readings | [9 empty] | Stock check, by the method of MDG Annexure 9
Date | Tank 1: Product dip (cm) | Tank 1: Litres by chart | Tank 1: Water dip (cm) | Tank 2: Product dip (cm) | Tank 2: Litres by chart | Tank 2: Water dip (cm) | Tank 3: Product dip (cm) | Tank 3: Litres by chart | Tank 3: Water dip (cm) | A. Opening stock by dip, all tanks (L) | Nozzle 1 | Nozzle 2 | Nozzle 3 | Nozzle 4 | Nozzle 5 | Nozzle 6 | Nozzle 7 | Nozzle 8 | Total of all meter readings | Litres used to test nozzles | B. Received today (L) | C. Shrinkage or TVA (L) | E. Sales as per meter (L) | F. Book stock at the end (L) | Closing dip stock, only if you take an evening dip (L) | G. Closing stock by dip (L) | Variation, G - F (L) | 4% of closing stock (L) | Variation as % of closing stock | Status | Note

## Diesel (HSD)
Daily stock register: Diesel (HSD)
Yellow cells: you type. Grey cells: worked out by the sheet, do not type in them.
Outlet | [6 empty] | Product | Diesel (HSD) |  |  | Shrinkage or TVA, % of receipts (only if your oil company gives one; for example 0.52):
Take the nozzle test litres off the meter sales? (default No) | [13 empty] | Days over 4%:
| Morning tank record (before the first sale) | [9 empty] | Morning pump meter readings | [9 empty] | Stock check, by the method of MDG Annexure 9
Date | Tank 1: Product dip (cm) | Tank 1: Litres by chart | Tank 1: Water dip (cm) | Tank 2: Product dip (cm) | Tank 2: Litres by chart | Tank 2: Water dip (cm) | Tank 3: Product dip (cm) | Tank 3: Litres by chart | Tank 3: Water dip (cm) | A. Opening stock by dip, all tanks (L) | Nozzle 1 | Nozzle 2 | Nozzle 3 | Nozzle 4 | Nozzle 5 | Nozzle 6 | Nozzle 7 | Nozzle 8 | Total of all meter readings | Litres used to test nozzles | B. Received today (L) | C. Shrinkage or TVA (L) | E. Sales as per meter (L) | F. Book stock at the end (L) | Closing dip stock, only if you take an evening dip (L) | G. Closing stock by dip (L) | Variation, G - F (L) | 4% of closing stock (L) | Variation as % of closing stock | Status | Note

## Tankers
Tankers received: one line for each tanker
Yellow cells: you type. Grey cells: worked out by the sheet, do not type in them.
Date | Time decanting finished | Invoice no. | Product | Tank no. | Tanker no. | Quantity received (L) | Water found with paste? | Done by | Note